## Project
Project Name: | Saraji Mine
Project Number: | ---
File Version: | Revision A

## AC1
| Project Name: | Saraji Mine | [6 empty] | Project Number: | ---
| Controller Name: | [7 empty] | Units: | Metric
| Controller Description: | [7 empty] | Address: | -
| Model Number: | ECB-650
Point Index | Point Name | Description | Point Type |  |  |  | Signal Type | Part Number | Detail | Rev | Comments | Commissioning | [8 empty] | Range |  |  |  | Reverse Acting | Units | True/False Text | Options | Analog Output |  | Binary Output | BACnet Alarm Enable | BACnet Alarms (Analog) |  |  |  |  | BACnet Alarms (Digital) | BACnet Alarms (Common)
|  |  | AI | DI | AO | DO | [5 empty] | Field |  |  | Software |  |  | Sign Off |  |  | Signal Min | Signal Max | Output Min | Output Max |  |  |  | Use Filter | Default Value | Offset | Default State |  | High Enable | Low Enable | High Limit | Low Limit | Deadband | Alarm Value | Time Delay | Notify Type | To Offnormal | To Fault | To Normal
[12 empty] | Install | Term | P.T.P. | Test | Calib | Prog | Graphic | Client | Date
UI1 |  | Space Temp AC1-East | [18 empty] | 0 | 10 | 0 | 30000 |  | kPa
UI2 |  | Space Temp AC1-West
UI3 |  | CO Sensor AC1-East
UI4 |  | CO Sensor AC1-West
UI5 |  | AC1-East Fault Switch
UI6 |  | AC1-East Dirty Filter Switch
UI7 |  | AC1-West Fault Switch
UI8 |  | AC1-West Dirty Filter Switch
UI9 |  | Afterhours Push Button
UI10
UI11
UI12
UO1 |  | Start AC1-East | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO2 |  | Start AC1-West | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO3 |  | AC1-East Fault LED Relay | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO4 |  | AC1-West Fault LED Relay | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO5 |  | VFC to Afterhours Control Panel 1 | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO6 | [26 empty] | TRUE/FALSE |  |  |  | FALSE
UO7 |  | Outside Air Damper Actuator 1 | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO8 | [26 empty] | TRUE/FALSE |  |  |  | FALSE
UO9
UO10
UO11
UO12
Notes:

## AC2
| Project Name: | Saraji Mine | [6 empty] | Project Number: | ---
| Controller Name: | [7 empty] | Units: | Metric
| Controller Description: | [7 empty] | Address: | -
| Model Number: | ECB-650
Point Index | Point Name | Description | Point Type |  |  |  | Signal Type | Part Number | Detail | Rev | Comments | Commissioning | [8 empty] | Range |  |  |  | Reverse Acting | Units | True/False Text | Options | Analog Output |  | Binary Output | BACnet Alarm Enable | BACnet Alarms (Analog) |  |  |  |  | BACnet Alarms (Digital) | BACnet Alarms (Common)
|  |  | AI | DI | AO | DO | [5 empty] | Field |  |  | Software |  |  | Sign Off |  |  | Signal Min | Signal Max | Output Min | Output Max |  |  |  | Use Filter | Default Value | Offset | Default State |  | High Enable | Low Enable | High Limit | Low Limit | Deadband | Alarm Value | Time Delay | Notify Type | To Offnormal | To Fault | To Normal
[12 empty] | Install | Term | P.T.P. | Test | Calib | Prog | Graphic | Client | Date
UI1 |  | Space Temp AC2 | [18 empty] | 0 | 10 | 0 | 30000 |  | kPa
UI2 |  | CO Sensor AC2
UI3 |  | AC2 Fault Switch
UI4 |  | AC2 Dirty Filter Switch
UI5 |  | Afterhours Push Button
UI6
UI7
UI8
UI9
UI10
UI11
UI12
UO1 |  | Start AC2 | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO2 |  | AC2 Fault LED Relay | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO3 |  | VFC to Afterhours Control Panel 2 | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO4 |  | VFC to Afterhours Control Panel 2 | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO5 | [26 empty] | TRUE/FALSE |  |  |  | FALSE
UO6 | [26 empty] | TRUE/FALSE |  |  |  | FALSE
UO7 |  | Outside Air Damper Actuator 2 | [24 empty] | TRUE/FALSE |  |  |  | FALSE
UO8 | [26 empty] | TRUE/FALSE |  |  |  | FALSE
UO9
UO10
UO11
UO12
Notes:

## Validation Data (hidden)
Units
no-unit
── Common ──
%
°C
A
kPa
kW
L/s
m/s
Pa
V
── Preferred ──
% RH
%/s
%obsc/m
/h
/min
/s
°C/h
°C/min
°daysC
°K
°K/h
°K/m
µg/L
µg/m³
µGy
µm
µSv
µSv/h
‰
A/m
A/m²
Am²
bar
Bq
cd
cd/m²
cm
cm H²O
cm Hg
cm²
cph
cpm
cs
day
dB
dBA
dBmV
dBV
deg
degPh
F
ftcd
g
g/cm³
g/g
g/kg
g/L
g/m²
g/m³
g/min
g/mL
g/s
gH²O/kgAir
Gy
h
H
hPa
Hz
J
J/°K
J/kg°K
J/kgAir
J-s
kBq
kg
kg/g
kg/h
kg/m³
kg/min
kg/sec
kHz
kJ
kJ/°K
kJ/kg
kJ/kgAir
km
km/h
kV
kVA
kVAR
kWh
kWh/m²
kΩ
L
L/h
L/min
L/s/√(Pa)
lm
lux
m
m/°K
m/h
m/min
m/s²
m²
m²/N
m³
m³/h
m³/h/√(Pa)
m³/min
m³/s
mA
mbar
MBq
mg
mg/g
mg/kg
mg/L
mg/m³
mGy
MHz
min
MJ
MJ/°K
MJ/kgAir
MJ/m²
mL
mL/s
mm
mm H²O
mm Hg
mm/s
mo
ms
mS
mSv
mV
MV
MVA
MVAR
mW
MW
MWh
mΩ
MΩ
N
N/m
ng/m³
N-m
N-s
NTU
pf
pH
ppb
ppm
rad
rad/s
rpm
s
S
S/m
Sv
T
ton
ton/h
V/m
V/Ω°K
VA
VAR
W
W/ft²
W/m°K
W/m²
W/m²°K
Wb
Wh
wk
yr
Δ °C
Δ °K
Ω
Ωm
── Others ──
%obsc/ft
°daysF
°F
°F/h
°F/min
BTU
BTU/h
BTU/lb
BTU/lbAir
cfm
cfm/√(in H²O)
cfs
ft
ft/min
ft/s
ft²
ft³
gal
gal/min
galUK
galUK/min
gr/lbAir
hp
in
in H²O
in Hg
in²
kBTU
kBTU/h
kWh/ft²
lb
lb/ft³
lb/h
lb/min
lb/s
MBTU
MJ/ft²
mph
psi
psi/°F
therm
ton-h
tR
Δ °F